Final Year Departmental Project Proposal Form for Students

Session (2022-2026)

Project Title: IOT Based Smart Distribution Board For Real Time Monitoring, Smart  Appliances Control and Intelligent Appliances Scheduling

Name of Proposed Supervisor: Dr. Bilal Asad

| GROUP MEMBERS |  |  |  |
| --- | --- | --- | --- |
| S. No. | Name of Student | Roll Number | Email Address |
| 01 | Hafiz Luqman Riaz | F22BELEN1M01021 | hafizluqmanriaz3377@gmail.com |
| 02 | Younis Iqbal | F22BELEN1M01012 | engryounis7262@gmail.com |
| 03 | Munib Irfan | F22BELEN1M01022 | munibchudhary3794@gmail.com |

Project Summary: This project presents the IoT-Based Smart Distribution Board, which is designed for Real-time energy monitoring, Smart appliance Control, and Intelligent load scheduling in both homes and small buildings. The major and room-level controllers of this system include Arduino and ESP32/ESP8266 NodeMCU, which are used for automation and management in power distribution. The electrical parameters, such as voltage, current, frequency, and power factor, are measured by the ZMPT101B voltage sensor, ACS712 current sensor, SCT-013 CT sensor, and ADE7753/ATM90E26 energy-measuring IC.

PIR motion sensors for automatic room lighting, LDR sensors for day–night detection, and multi-channel relay modules are used to achieve smart automation. Solid-state relays and optocouplers effectively provide safe electrical isolation and reliable AC load switching. The intelligent scheduling allows users to schedule timers, ON/OFF schedules, and priority-based load operation of the appliances. This facilitates reduced unnecessary energy usage by automatically operating all appliances based on user-defined routines. Electrical parameters such as voltage, current, and power factor are displayed live on an OLED display. All data gets uploaded to the IoT dashboard; hence, users can monitor energy consumption, switch appliances, and manage schedules remotely via any mobile or web interface. Overall, the Smart Distribution Board ensures energy efficiency by enhancing user convenience and providing a safer and more intelligent power management with IoT-based automation.

Supervisor’s Comments:

FYPEC                                                                           	                	                 Chairman

___________________							      ___________________